## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | Replacement_costs_during_project_lifetime | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | DSO_consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_frei | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_wasser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_karholz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_winnberg03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_winnberg04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_consumption_period | 6054149.3019 | 6054149.3019 | 0 | 0 | 0 | 0 | 6054149.3019 | 527828.3248 | 527828.3248 | 0.08648
0 | PV_Frei | 4253423.8356 | 996139.9646 | 3257283.871 | 3473920.86 | -216636.989 | 0 | 996139.9646 | 370832.8727 | 86848.0215 | 0.05025
0 | PV_Halle 18 | 127046.4645 | 178930.771 | -51884.3066 | 0 | -51884.3066 | 0 | 178930.771 | 11076.4897 | 15600 | 0.01689
0 | PV_Wasser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Wind_Karholz | -286860.3487 | 0 | -286860.3487 | 0 | -286860.3487 | 0 | 0 | -25009.7924 | 0 | -0.00324
0 | Wind_Winnberg 03 | -325108.3952 | 0 | -325108.3952 | 0 | -325108.3952 | 0 | 0 | -28344.4314 | 0 | -0.00383
0 | Wind_Winnberg 04 | -305984.372 | 0 | -305984.372 | 0 | -305984.372 | 0 | 0 | -26677.1119 | 0 | -0.0033
0 | Electricity_grid_DSO_consumption_source | 11551408.3307 | 11551408.3307 | 0 | 0 | 0 | 11551408.3307 | 0 | 1007104.4178 | 1007104.4178 | 0.165
0 | Industriepark | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | AC bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus 18_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus frei_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus wasser_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus karholz_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 03_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 04_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_feedin_sink_sink | -3620418.3668 | -3620418.3668 | 0 | 0 | 0 | -3620418.3668 | 0 | -315644.5714 | -315644.5714 | -0.02

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow | Total emissions
0 | DSO_consumption | kVA | 0 | 5579.5806 | 6103663.138 | 6103663.138 | 5579.5806 | 696.7652
0 | DSO_feedin | kVA | 0 | 12735.135 | 15782228.5691 | 15782228.5691 | 12735.135 | 1801.6243
0 | pv_18 | kVA | 0 | 519 | 655690.5 | 655690.5 | 519 | 74.8505
0 | pv_frei | kVA | 0 | 5789.8681 | 7379825.8766 | 7379825.8766 | 5789.8681 | 842.4459
0 | pv_wasser | kVA | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_karholz | kVA | 0 | 3000 | 7720539.0591 | 7720539.0591 | 3000 | 881.3401
0 | wind_winnberg03 | kVA | 0 | 3400 | 7399537.2487 | 7399537.2487 | 3400 | 844.696
0 | wind_winnberg04 | kVA | 0 | 3200 | 8086536.6619 | 8086536.6619 | 3200 | 923.1206
0 | Electricity_grid_DSO_consumption_period | ? | 0 | 5579.5806 | 6103663.138 | 6103663.138 | 5579.5806 | 696.7652
0 | PV_Frei | kWp | 0 | 5789.8681 | 7379825.8766 | 7379825.8766 | 5789.8681 | 842.4459 | 0
0 | PV_Halle 18 | kWp | 780 | 0 | 655690.5 | 655690.5 | 519 | 74.8505 | 0
0 | PV_Wasser | kWp | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Wind_Karholz | kW | 3000 | 0 | 7720539.0578 | 7720539.0578 | 3000 | 881.3401 | 0
0 | Wind_Winnberg 03 | kW | 3400 | 0 | 7399537.2456 | 7399537.2456 | 3400 | 844.696 | 0
0 | Wind_Winnberg 04 | kW | 3200 | 0 | 8086536.6634 | 8086536.6634 | 3200 | 923.1206 | 0
0 | Electricity_grid_DSO_consumption_source | ? | 0 | 5579.5806 | 6103663.138 | 6103663.138 | 5579.5806 | 696.7652 | 2441465.2552
0 | Industriepark | kW | 0 | 0 | 21563563.912 | 21563563.912 | 5749.52 | 2461.5941
0 | AC bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus 18_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus frei_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus wasser_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus karholz_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 03_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 04_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_feedin_sink_sink | ? | 0 | 12735.135 | 15782228.5691 | 15782228.5691 | 12735.135 | 1801.6243

## scalars
| 0 | unit
costs_total | 17447656.4499 | EUR
costs_om_total | 15160210.0014 | EUR
costs_investment_over_lifetime | 2287446.4485 | EUR
costs_upfront_in_year_zero | 3473920.86 | EUR
Replacement_costs_during_project_lifetime | -1186474.4115 | NA
costs_dispatch | 7930989.9638 | EUR
costs_cost_om | 7229220.0375 | EUR
annuity_total | 1521166.1979 | EUR/year
annuity_om | 1321736.1927 | EUR/year
Total_demandElectricity | 21563563.912 | NA
Total_demandElectricity_electricity_equivalent | 21563563.912 | NA
Total_demand_electricity_equivalent | 21563563.912 | NA
Total_excessElectricity | 4.8234e-12 | NA
Total_excessElectricity_electricity_equivalent | 4.8234e-12 | NA
Total_excess_electricity_equivalent | 4.8234e-12 | NA
Total_feedinElectricity | 15782228.5691 | NA
Total_feedinElectricity_electricity_equivalent | 15782228.5691 | NA
Total_feedin_electricity_equivalent | 15782228.5691 | NA
Attributed costsElectricity | 17447656.4499 | NA
Levelized costs of electricity equivalentElectricity | 0.070543 | NA
Levelized costs of electricity equivalent | 0.070543 | NA
Total internal renewable generation | 31242129.3434 | NA
Total internal non-renewable generation | 0 | NA
Total renewable energy use | 33866704.4927 | NA
Total non-renewable energy use | 3479087.9886 | NA
Total internal generation | 31242129.3434 | NA
Renewable share of local generation | 1 | NA
Renewable factor | 0.90684 | NA
Onsite energy fraction | 0.49484 | NA
Onsite energy matching | 0.71695 | NA
Degree of autonomy | 1.4488 | NA
Total emissions | 2441465.2552 | NA
Specific emissions per electricity equivalent | 0.11322 | NA

## KPI individual sectors
Electricity
Renewable factor | 0.90684
Renewable share of local generation | 1
Total internal non-renewable generation | 0
Total internal non-renewable generation_electricity_equivalent | 0
Total internal renewable generation | 31242129.3434
Total internal renewable generation_electricity_equivalent | 31242129.3434
Total non-renewable energy use | 3479087.9886
Total non-renewable energy use_electricity_equivalent | 3479087.9886
Total renewable energy use | 33866704.4927
Total renewable energy use_electricity_equivalent | 33866704.4927