## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | Replacement_costs_during_project_lifetime | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | Battery storage capacity | 2117615.88 | 0 | 2117615.88 | 2117615.88 | 0 | 0 | 0 | 184623.4023 | 0 | 0.00872
0 | Battery input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Battery output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_frei | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_wasser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_erweiterung | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_karholz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_winnberg03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_winnberg04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_consumption_period | 5078569.9226 | 5078569.9226 | 0 | 0 | 0 | 0 | 5078569.9226 | 442772.8688 | 442772.8688 | 0.0976
0 | PV_Frei | 4766774.127 | 1116365.1669 | 3650408.9601 | 3893192.1 | -242783.1399 | 0 | 1116365.1669 | 415589.0905 | 97329.8025 | 0.05025
0 | PV_Halle 18 | 155582.8331 | 178930.771 | -23347.9379 | 0 | -23347.9379 | 0 | 178930.771 | 13564.4204 | 15600 | 0.02069
0 | PV_Wasser | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Wind_Erweiterung | 267211.7751 | 0 | 267211.7751 | 298205.764 | -30993.9889 | 0 | 0 | 23296.7402 | 0 | 0.03491
0 | Wind_Karholz | -286860.3487 | 0 | -286860.3487 | 0 | -286860.3487 | 0 | 0 | -25009.7924 | 0 | -0.00324
0 | Wind_Winnberg 03 | -325108.3952 | 0 | -325108.3952 | 0 | -325108.3952 | 0 | 0 | -28344.4314 | 0 | -0.00383
0 | Wind_Winnberg 04 | -305984.372 | 0 | -305984.372 | 0 | -305984.372 | 0 | 0 | -26677.1119 | 0 | -0.0033
0 | Electricity_grid_DSO_consumption_source | 8585684.2158 | 8585684.2158 | 0 | 0 | 0 | 8585684.2158 | 0 | 748539.0747 | 748539.0747 | 0.165
0 | Industriepark | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | AC bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus 18_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus frei_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus wasser_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus erweiterung_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus karholz_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 03_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 04_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_feedin_sink_sink | -3585152.3189 | -3585152.3189 | 0 | 0 | 0 | -3585152.3189 | 0 | -312569.9166 | -312569.9166 | -0.02

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow | Total emissions
0 | Battery storage capacity | kWh | 0 | 7058.7196 | 21183752.9855 | 21183752.9855 | 7058.7196 | 2418.2366
0 | Battery input power | kW | 0 | 7058.7196 | 1483950.3715 | 1483950.3715 | 5227.8657 | 169.4007
0 | Battery output power | kW | 0 | 7058.7196 | 1339265.2103 | 1339265.2103 | 4468.0632 | 152.8842
0 | DSO_consumption | kVA | 0 | 4680.4743 | 4536600.4527 | 4536600.4527 | 4680.4743 | 517.8768
0 | DSO_feedin | kVA | 0 | 13622.235 | 15628495.8308 | 15628495.8308 | 13622.235 | 1784.0749
0 | pv_18 | kVA | 0 | 519 | 655690.5 | 655690.5 | 519 | 74.8505
0 | pv_frei | kVA | 0 | 6488.6535 | 8270504.9628 | 8270504.9628 | 6488.6535 | 944.1216
0 | pv_wasser | kVA | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_erweiterung | kVA | 0 | 259.3094 | 667336.0212 | 667336.0212 | 259.3094 | 76.1799
0 | wind_karholz | kVA | 0 | 3000 | 7720539.0591 | 7720539.0591 | 3000 | 881.3401
0 | wind_winnberg03 | kVA | 0 | 3400 | 7399537.2487 | 7399537.2487 | 3400 | 844.696
0 | wind_winnberg04 | kVA | 0 | 3200 | 8086536.6619 | 8086536.6619 | 3200 | 923.1206
0 | Electricity_grid_DSO_consumption_period | ? | 0 | 4680.4743 | 4536600.4527 | 4536600.4527 | 4680.4743 | 517.8768
0 | PV_Frei | kWp | 0 | 6488.6535 | 8270504.9628 | 8270504.9628 | 6488.6535 | 944.1216 | 0
0 | PV_Halle 18 | kWp | 780 | 0 | 655690.5 | 655690.5 | 519 | 74.8505 | 0
0 | PV_Wasser | kWp | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Wind_Erweiterung | kW | 0 | 259.3094 | 667336.0212 | 667336.0212 | 259.3094 | 76.1799 | 0
0 | Wind_Karholz | kW | 3000 | 0 | 7720539.0578 | 7720539.0578 | 3000 | 881.3401 | 0
0 | Wind_Winnberg 03 | kW | 3400 | 0 | 7399537.2456 | 7399537.2456 | 3400 | 844.696 | 0
0 | Wind_Winnberg 04 | kW | 3200 | 0 | 8086536.6634 | 8086536.6634 | 3200 | 923.1206 | 0
0 | Electricity_grid_DSO_consumption_source | ? | 0 | 4680.4743 | 4536600.4527 | 4536600.4527 | 4680.4743 | 517.8768 | 1814640.1811
0 | Industriepark | kW | 0 | 0 | 21563563.912 | 21563563.912 | 5749.52 | 2461.5941
0 | AC bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus 18_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus frei_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus wasser_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus erweiterung_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus karholz_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 03_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 04_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_feedin_sink_sink | ? | 0 | 13622.235 | 15628495.8308 | 15628495.8308 | 13622.235 | 1784.0749

## scalars
| 0 | unit
costs_total | 16468333.3188 | EUR
costs_om_total | 11374397.7575 | EUR
costs_investment_over_lifetime | 5093935.5613 | EUR
costs_upfront_in_year_zero | 6309013.744 | EUR
Replacement_costs_during_project_lifetime | -1215078.1827 | NA
costs_dispatch | 5000531.897 | EUR
costs_cost_om | 6373865.8605 | EUR
annuity_total | 1435784.3445 | EUR/year
annuity_om | 991671.8294 | EUR/year
Total_demandElectricity | 21563563.912 | NA
Total_demandElectricity_electricity_equivalent | 21563563.912 | NA
Total_demand_electricity_equivalent | 21563563.912 | NA
Total_excessElectricity | 0 | NA
Total_excessElectricity_electricity_equivalent | 0 | NA
Total_excess_electricity_equivalent | 0 | NA
Total_feedinElectricity | 15628495.8308 | NA
Total_feedinElectricity_electricity_equivalent | 15628495.8308 | NA
Total_feedin_electricity_equivalent | 15628495.8308 | NA
Attributed costsElectricity | 16468333.3188 | NA
Levelized costs of electricity equivalentElectricity | 0.066584 | NA
Levelized costs of electricity equivalent | 0.066584 | NA
Total internal renewable generation | 32800144.4507 | NA
Total internal non-renewable generation | 0 | NA
Total renewable energy use | 34750882.6454 | NA
Total non-renewable energy use | 2585862.2581 | NA
Total internal generation | 32800144.4507 | NA
Renewable share of local generation | 1 | NA
Renewable factor | 0.93074 | NA
Onsite energy fraction | 0.52352 | NA
Onsite energy matching | 0.79633 | NA
Degree of autonomy | 1.5211 | NA
Total emissions | 1814640.1811 | NA
Specific emissions per electricity equivalent | 0.084153 | NA

## KPI individual sectors
Electricity
Renewable factor | 0.93074
Renewable share of local generation | 1
Total internal non-renewable generation | 0
Total internal non-renewable generation_electricity_equivalent | 0
Total internal renewable generation | 32800144.4507
Total internal renewable generation_electricity_equivalent | 32800144.4507
Total non-renewable energy use | 2585862.2581
Total non-renewable energy use_electricity_equivalent | 2585862.2581
Total renewable energy use | 34750882.6454
Total renewable energy use_electricity_equivalent | 34750882.6454