## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | Replacement_costs_during_project_lifetime | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | DSO_consumption | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_karholz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_winnberg03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind_winnberg04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_consumption_period | 6168310.1695 | 6168310.1695 | 0 | 0 | 0 | 0 | 6168310.1695 | 537781.3894 | 537781.3894 | 0.05632
0 | PV_Halle 18 | 155582.8331 | 178930.771 | -23347.9379 | 0 | -23347.9379 | 0 | 178930.771 | 13564.4204 | 15600 | 0.02069
0 | Wind_Karholz | -286860.3487 | 0 | -286860.3487 | 0 | -286860.3487 | 0 | 0 | -25009.7924 | 0 | -0.00324
0 | Wind_Winnberg 03 | -325108.3952 | 0 | -325108.3952 | 0 | -325108.3952 | 0 | 0 | -28344.4314 | 0 | -0.00383
0 | Wind_Winnberg 04 | -305984.372 | 0 | -305984.372 | 0 | -305984.372 | 0 | 0 | -26677.1119 | 0 | -0.0033
0 | Electricity_grid_DSO_consumption_source | 18071051.5802 | 18071051.5802 | 0 | 0 | 0 | 18071051.5802 | 0 | 1575516.6261 | 1575516.6261 | 0.165
0 | Industriepark | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | AC bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus 18_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus karholz_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 03_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 04_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_feedin_sink_sink | -2717757.7264 | -2717757.7264 | 0 | 0 | 0 | -2717757.7264 | 0 | -236946.5034 | -236946.5034 | -0.02

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow | Total emissions
0 | DSO_consumption | kVA | 0 | 5684.7927 | 9548585.6129 | 9548585.6129 | 5684.7927 | 1090.0212
0 | DSO_feedin | kVA | 0 | 8350.3924 | 11847325.1673 | 11847325.1673 | 8350.3924 | 1352.4344
0 | pv_18 | kVA | 0 | 519 | 655690.5 | 655690.5 | 519 | 74.8505
0 | wind_karholz | kVA | 0 | 3000 | 7720539.0591 | 7720539.0591 | 3000 | 881.3401
0 | wind_winnberg03 | kVA | 0 | 3400 | 7399537.2487 | 7399537.2487 | 3400 | 844.696
0 | wind_winnberg04 | kVA | 0 | 3200 | 8086536.6619 | 8086536.6619 | 3200 | 923.1206
0 | Electricity_grid_DSO_consumption_period | ? | 0 | 5684.7927 | 9548585.6129 | 9548585.6129 | 5684.7927 | 1090.0212
0 | PV_Halle 18 | kWp | 780 | 0 | 655690.5 | 655690.5 | 519 | 74.8505 | 0
0 | Wind_Karholz | kW | 3000 | 0 | 7720539.0578 | 7720539.0578 | 3000 | 881.3401 | 0
0 | Wind_Winnberg 03 | kW | 3400 | 0 | 7399537.2456 | 7399537.2456 | 3400 | 844.696 | 0
0 | Wind_Winnberg 04 | kW | 3200 | 0 | 8086536.6634 | 8086536.6634 | 3200 | 923.1206 | 0
0 | Electricity_grid_DSO_consumption_source | ? | 0 | 5684.7927 | 9548585.6129 | 9548585.6129 | 5684.7927 | 1090.0212 | 3819434.2451
0 | Industriepark | kW | 0 | 0 | 21563563.912 | 21563563.912 | 5749.52 | 2461.5941
0 | AC bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DC bus 18_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus karholz_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 03_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | wind bus winnberg 04_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_grid_DSO_feedin_sink_sink | ? | 0 | 8350.3924 | 11847325.1673 | 11847325.1673 | 8350.3924 | 1352.4344

## scalars
| 0 | unit
costs_total | 20759233.7404 | EUR
costs_om_total | 21700534.7943 | EUR
costs_investment_over_lifetime | -941301.0539 | EUR
costs_upfront_in_year_zero | 0 | EUR
Replacement_costs_during_project_lifetime | -941301.0539 | NA
costs_dispatch | 15353293.8538 | EUR
costs_cost_om | 6347240.9405 | EUR
annuity_total | 1809884.5968 | EUR/year
annuity_om | 1891951.5122 | EUR/year
Total_demandElectricity | 21563563.912 | NA
Total_demandElectricity_electricity_equivalent | 21563563.912 | NA
Total_demand_electricity_equivalent | 21563563.912 | NA
Total_excessElectricity | 0 | NA
Total_excessElectricity_electricity_equivalent | 0 | NA
Total_excess_electricity_equivalent | 0 | NA
Total_feedinElectricity | 11847325.1673 | NA
Total_feedinElectricity_electricity_equivalent | 11847325.1673 | NA
Total_feedin_electricity_equivalent | 11847325.1673 | NA
Attributed costsElectricity | 20759233.7404 | NA
Levelized costs of electricity equivalentElectricity | 0.083933 | NA
Levelized costs of electricity equivalent | 0.083933 | NA
Total internal renewable generation | 23862303.4668 | NA
Total internal non-renewable generation | 0 | NA
Total renewable energy use | 27968195.2803 | NA
Total non-renewable energy use | 5442693.7993 | NA
Total internal generation | 23862303.4668 | NA
Renewable share of local generation | 1 | NA
Renewable factor | 0.8371 | NA
Onsite energy fraction | 0.50351 | NA
Onsite energy matching | 0.55719 | NA
Degree of autonomy | 1.1066 | NA
Total emissions | 3819434.2451 | NA
Specific emissions per electricity equivalent | 0.17712 | NA

## KPI individual sectors
Electricity
Renewable factor | 0.8371
Renewable share of local generation | 1
Total internal non-renewable generation | 0
Total internal non-renewable generation_electricity_equivalent | 0
Total internal renewable generation | 23862303.4668
Total internal renewable generation_electricity_equivalent | 23862303.4668
Total non-renewable energy use | 5442693.7993
Total non-renewable energy use_electricity_equivalent | 5442693.7993
Total renewable energy use | 27968195.2803
Total renewable energy use_electricity_equivalent | 27968195.2803